## Conversion tables
Parameters of Camera Under Test
Horizontal Field of View | 8 | degrees (°)
Vertical Field of View | 4 | degrees (°)
HFOV en radian (rad) | 0.13963 | rad
VFOV en radian (rad) | 0.069813 | rad
Number of pixels | 320 | horizontal
Number of pixels | 256 | vertical
Wavelength max | 14 | µm
Aperture of the UUT | 30 | mm
IFOV
horizontal | 0.43633 | mrad
vertical | 0.27271 | mrad
fréquence de coupure fc optique
horizontale | 2.2918 | cy/mrad
verticale | 3.6669 | cy/mrad
fréquence de coupure fc chromatique
| 2.1429 | cy/mrad
Recommended 4 bar target frequencies (cy/mrad)
| f1 | f2 | f3
Horizontal MRTD | 0.32143 | 1.0714 | 1.2857
Vertical MRTD | 0.32143 | 1.0714 | 1.2857
| model | Focal Length (mm)
| IRCOL150/750 | 750
| IRCOL150/1000 | 1000
| IRCOL300/1500 | 1500.26
| IRCOL400/2500 | 2500
| IRCOL250/1500S | 1524
| COPI | 1524
| CUSTOM | 6000
target frequency (cy/mrad) --> target step (mm)
Collimator model |  | IRCOL150/750
Focal length |  | 750 | mm
Target frequency |  | 1.1 | cy/mrad
dimesion angulaire |  | 0.90909 | mrad
Single bar width |  | 0.34091 | mm
target step (mm) --> target frequency (cy/mrad)
Collimator model |  | IRCOL150/750
Focal length |  | 750 | mm
Single bar width |  | 0.465 | mm
dimension angulaire |  | 1.24 | mrad
Target frequency |  | 0.80645 | cy/mrad
[Set the camera parameters in green fields here] →
[Computed values of target freq. in yellow fields here] →
[See below the conversion tables cy/mrad ↔ mm
depending on collimator focal length]
[Check your HGH's IRCOL model or set your collimator focal length in green field here (in mm) ]
←
[ Select the collimator model ]
←
[ Set the target frequency]
←
[ Select the collimator model ]
←
[ Set the single bar width]
←